Supplementary information

Simultaneous determination of heparan sulfate, chondroitin/dermatan sulfates, and hyaluronan glycosaminoglycan disaccharides by high-performance liquid chromatography using a reverse-phase column with adamantyl groups

Hisatoshi Hanamatsua,b,*, Satoshi Makinoc, Masatsugu Oharaa, Goki Sudaa, Ikuko Yokotad, Shoko Nishiharae,f, Naoya Sakamotoa, Jun-ichi Furukawab,d,*

a Department of Gastroenterology and Hepatology, Graduate School of Medicine, Hokkaido University, Sapporo, Hokkaido 060-8638, Japan

b Department of Orthopaedic Surgery, Faculty of Medicine and Graduate School of Medicine, Hokkaido University, Sapporo, Hokkaido 060-8638, Japan

c Sanyo Fine IRICA Technology Co., Ltd. Kyoto, Kyoto 601-8037, Japan

d Institute for Glyco-core Research (iGCORE), Nagoya University, Nagoya, Aichi 464-8601, Japan

e Department of Bioinformatics, Graduate School of Engineering, Soka University, Hachioji, Tokyo, Japan.

f Glycan & Life System Integration Center (GaLSIC), Soka University, Hachioji, Tokyo, Japan.

Correspondence: h_hanamatsu@med.hokudai.ac.jp (H.H.); j-furu@med.nagoya-u.ac.jp (J.-i.F.); Tel.: +81-(0)11-706-9477 (H.H.); +81-(0)52-744-2943 (J.-i.F.)

Table of Contents

- Separation of 2-AB labeled GAG disaccharide standards by ZIC-HILIC column, Figure S1

- Separation of 2-AB labeled GAG disaccharide standards by phenyl and PFP columns, Figure S2

Figure S1. Separation of 2-AB labeled GAG disaccharide standards by ZIC-HILIC column.

The liquid chromatogram from a ZIC-HILIC column using the following gradient: Solvent A (10 mM ammonium acetate) / Solvent B (95% (v/v) acetonitrile containing 10 mM ammonium acetate) = 3/97 (0 min) → 11/89 (15 min) → 13/87 (25 min) → 15/85 (30 min) → 35/65 (60 min) → 40/60 (60.1 min) → 40/60 (70 min), at a flow rate of 200 μL/min.

Figure. S2

Figure S2. Separation of 2-AB labeled GAG disaccharide standards by phenyl and PFP columns.

The liquid chromatogram from a phenyl column using the following gradients: (a) Solvent A/ Solvent B = 100/0 (0 min) → 60/40 (40 min); (b) Solvent A/ Solvent B = 100/0 (0 min) → 65/35 (40 min); (c) Solvent A/ Solvent B = 100/0 (0 min) → 60/30 (40 min). The liquid chromatogram from a PFP column using the following gradients: (d) Solvent A/ Solvent B = 100/0 (0 min) → 60/40 (40 min); (e) Solvent A/ Solvent B = 100/0 (0 min) → 65/35 (40 min); (f) Solvent A/ Solvent B = 100/0 (0 min) → 60/30 (40 min).